## Sheet1
ID1 | ID | @id | samplesamplingPoint | samplesamplingPointnotation | samplesamplingPointlabel | samplesampleDateTime | determinandlabel | determinanddefinition | determinandnotation | resultQualifiernotation | result | codedResultInterpretationinterpretation | determinandunitlabel | samplesampledMaterialTypelabel | sampleisComplianceSample | samplepurposelabel | samplesamplingPointeasting | samplesamplingPointnorthing
1 | 1 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1057059-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2001-01-08T12:00:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 1 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
2 | 11 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127600-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01558 | AN-01558 | ROBIN HOOD PH BUFFLERS HOLT | 2001-04-11T11:20:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 466660 | 235220
3 | 21 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1060385-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-01-30T11:15:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 9.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
4 | 31 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1060385-0081 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-01-30T11:15:00 | O Diss% Satn | Oxygen, Dissolved, % Saturation : (Laboratory) | 81 | None | 110 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
5 | 41 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127601-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-02-28T11:55:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
6 | 51 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127601-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-02-28T11:55:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0286 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
7 | 61 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127601-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-02-28T11:55:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.055 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
8 | 71 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132753-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-03-30T13:30:00 | pH | pH | 61 | None | 8 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
9 | 81 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132753-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-03-30T13:30:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0332 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
10 | 91 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137818-6450 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-05-02T11:15:00 | Cu Filtered | Copper, Dissolved | 6450 | None | 1.23 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
11 | 101 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137818-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-05-02T11:15:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 8.86 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
12 | 111 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137818-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-05-02T11:15:00 | Nickel - Ni | Nickel | 6462 | None | 5.57 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
13 | 121 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137819-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-05-29T12:35:00 | Chromium -Cr | Chromium | 3164 | None | 0.5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
14 | 131 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137819-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-05-29T12:35:00 | Lead - as Pb | Lead | 50 | None | 0.556 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
15 | 141 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1143145-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-06-28T10:20:00 | Chloride Ion | Chloride | 172 | None | 30.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
16 | 151 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1143145-9639 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-06-28T10:20:00 | OdourPhenolc | Odour : Phenolic | 9639 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
17 | 161 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147004-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-07-26T13:30:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 88.4 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
18 | 171 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147004-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-07-26T13:30:00 | Lead - as Pb | Lead | 50 | None | 0.412 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
19 | 181 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147004-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-07-26T13:30:00 | Copper - Cu | Copper | 6452 | None | 1.6 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
20 | 191 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1149589-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-08-22T13:15:00 | Turbidity | Turbidity | 68 | None | 15.1 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
21 | 201 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1149589-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-08-22T13:15:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 23.5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
22 | 211 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150364-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-09-13T13:30:00 | Chloride Ion | Chloride | 172 | None | 35 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
23 | 221 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150364-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-09-13T13:30:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.051 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
24 | 231 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1165121-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-10-19T11:45:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.172 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
25 | 241 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1165121-6450 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-10-19T11:45:00 | Cu Filtered | Copper, Dissolved | 6450 | None | 2.5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
26 | 251 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1165121-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-10-19T11:45:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 12.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
27 | 261 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157852-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-11-07T14:55:00 | Temp Water | Temperature of Water | 76 | None | 10.4 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
28 | 271 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157852-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-11-07T14:55:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
29 | 281 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162546-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-12-12T12:10:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
30 | 291 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162546-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2001-12-12T12:10:00 | Chromium -Cr | Chromium | 3164 | None | 0.5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
31 | 301 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1061421-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-01-30T12:05:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 856 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
32 | 311 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1061421-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-01-30T12:05:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 10.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
33 | 321 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127602-0081 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-02-28T11:28:00 | O Diss% Satn | Oxygen, Dissolved, % Saturation : (Laboratory) | 81 | None | 91.7 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
34 | 331 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127602-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-02-28T11:28:00 | Chromium -Cr | Chromium | 3164 | None | 0.6 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
35 | 341 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127602-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-02-28T11:28:00 | pH | pH | 61 | None | 8.05 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
36 | 351 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132754-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-03-30T13:45:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.075 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
37 | 361 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132754-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-03-30T13:45:00 | pH | pH | 61 | None | 8.05 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
38 | 371 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132755-0105 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-05-02T11:35:00 | Mercury - Hg | Mercury | 105 | None | 0.01 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
39 | 381 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132755-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-05-02T11:35:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.055 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
40 | 391 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137820-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-06-01T11:20:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.19 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
41 | 401 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1143146-0105 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-06-28T11:15:00 | Mercury - Hg | Mercury | 105 | None | 0.07 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
42 | 411 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1143146-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-06-28T11:15:00 | Temp Water | Temperature of Water | 76 | None | 16.8 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
43 | 421 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147005-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-07-26T14:25:00 | Copper - Cu | Copper | 6452 | None | 2.39 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
44 | 431 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147005-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-07-26T14:25:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.001 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
45 | 441 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1149590-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-08-22T14:10:00 | Iron - as Fe | Iron | 6051 | None | 260 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
46 | 451 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1149590-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-08-22T14:10:00 | Temp Water | Temperature of Water | 76 | None | 18.1 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
47 | 461 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150365-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-09-13T13:45:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
48 | 471 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150365-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-09-13T13:45:00 | Zinc - as Zn | Zinc | 6455 | None | 14.6 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
49 | 481 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1155730-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-10-19T11:00:00 | Iron - as Fe | Iron | 6051 | None | 321 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
50 | 491 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1155730-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-10-19T11:00:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 112.9 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
51 | 501 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157853-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-11-07T15:41:00 | Iron - as Fe | Iron | 6051 | None | 244 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
52 | 511 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157853-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-11-07T15:41:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 107.2 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
53 | 521 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162547-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-12-12T11:20:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
54 | 531 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162547-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2001-12-12T11:20:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
55 | 541 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1059923-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-01-30T12:30:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 793 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
56 | 551 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1059923-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-01-30T12:30:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
57 | 561 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127603-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-02-28T10:40:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 779.385 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
58 | 571 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127604-0082 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-03-30T14:17:00 | O Dissolved | Oxygen, Dissolved : (Laboratory) as O2 | 82 | None | 12.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
59 | 581 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1131783-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-05-02T12:20:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 747.05 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
60 | 591 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137822-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-06-01T10:25:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.032 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
61 | 601 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1139684-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-06-28T11:55:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.0018 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
62 | 611 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1143147-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-07-26T15:05:00 | Temp Water | Temperature of Water | 76 | None | 18.4 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
63 | 621 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147635-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-08-28T13:50:00 | Turbidity | Turbidity | 68 | None | 6.4 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
64 | 631 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150366-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-09-13T14:36:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.208 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
65 | 641 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1155497-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-10-19T10:00:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.193 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
66 | 651 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157854-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-11-07T16:35:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.145 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
67 | 661 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162548-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2001-12-12T10:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.03 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
68 | 671 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1061422-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-01-30T10:40:00 | Copper - Cu | Copper | 6452 | None | 2.4 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
69 | 681 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1061422-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-01-30T10:40:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
70 | 691 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127605-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-03-22T10:50:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.059 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
71 | 701 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127605-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-03-22T10:50:00 | Turbidity | Turbidity | 68 | None | 120 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
72 | 711 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132756-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-03-30T14:00:00 | Copper - Cu | Copper | 6452 | None | 2.77 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
73 | 721 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132756-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-03-30T14:00:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.0007 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
74 | 731 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132757-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-05-02T11:50:00 | Zinc - as Zn | Zinc | 6455 | None | 13.2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
75 | 741 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1132757-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-05-02T11:50:00 | Nickel - Ni | Nickel | 6462 | None | 5.59 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
76 | 751 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1139685-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-06-01T11:00:00 | Chromium -Cr | Chromium | 3164 | None | 0.5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
77 | 761 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1142180-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-06-28T11:35:00 | Chloride Ion | Chloride | 172 | None | 55.8 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
78 | 771 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1142180-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-06-28T11:35:00 | Turbidity | Turbidity | 68 | None | 3.8 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
79 | 781 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147006-0105 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-07-26T14:40:00 | Mercury - Hg | Mercury | 105 | None | 0.01 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
80 | 791 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147006-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-07-26T14:40:00 | Zinc - as Zn | Zinc | 6455 | None | 13.7 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
81 | 801 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1149841-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-08-28T13:20:00 | pH | pH | 61 | None | 8.2 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
82 | 811 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1149841-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-08-28T13:20:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
83 | 821 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150367-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-09-13T14:30:00 | Temp Water | Temperature of Water | 76 | None | 14.7 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
84 | 831 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1150367-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-09-13T14:30:00 | Zinc - as Zn | Zinc | 6455 | None | 17.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
85 | 841 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1155731-0105 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-10-19T10:20:00 | Mercury - Hg | Mercury | 105 | None | 0.01 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
86 | 851 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157855-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-11-07T16:00:00 | Turbidity | Turbidity | 68 | None | 19.3 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
87 | 861 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1157855-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-11-07T16:00:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 112 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
88 | 871 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162549-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-12-12T11:10:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
89 | 881 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1162549-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2001-12-12T11:10:00 | Zinc - as Zn | Zinc | 6455 | None | 13.4 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
90 | 891 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127606-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021126 | AN-021126 | SEVEN GABLES BUCKINGHAM RD.WINSLOW | 2001-04-11T12:00:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 8.98 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 475760 | 228480
91 | 901 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1058837-0183 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-01-10T11:45:00 | Sulphate SO4 | Sulphate as SO4 | 183 | None | 767 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
92 | 911 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1058837-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-01-10T11:45:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 1 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
93 | 921 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1061423-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-02-06T11:15:00 | Zinc - as Zn | Zinc | 6455 | None | 33 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
94 | 931 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127608-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-03-07T12:10:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.86 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
95 | 941 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1127608-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-03-07T12:10:00 | Lead - as Pb | Lead | 50 | None | 30.3 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
96 | 951 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1137823-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-05-16T13:40:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 1 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
97 | 961 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1138676-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-06-14T11:35:00 | pH | pH | 61 | None | 7.9 | None | phunits | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
98 | 971 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1138676-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-06-14T11:35:00 | Copper - Cu | Copper | 6452 | None | 8.6 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
99 | 981 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1143148-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-07-12T12:15:00 | Nickel - Ni | Nickel | 6462 | None | 8.5 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
100 | 991 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147007-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-08-07T11:45:00 | Chloride Ion | Chloride | 172 | None | 98 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
101 | 1001 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1147007-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-08-07T11:45:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.5 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
102 | 1011 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1151290-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-09-19T14:05:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 3 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
103 | 1021 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1153460-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-10-03T14:40:00 | Cadmium - Cd | Cadmium | 108 | None | 1 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
104 | 1031 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1153460-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-10-03T14:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.9 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
105 | 1041 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1156585-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-10-23T11:20:00 | pH | pH | 61 | None | 7.8 | None | phunits | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
106 | 1051 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1161675-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2001-12-06T14:30:00 | Chloride Ion | Chloride | 172 | None | 112 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000