## Sheet1
ID1 | ID | @id | samplesamplingPoint | samplesamplingPointnotation | samplesamplingPointlabel | samplesampleDateTime | determinandlabel | determinanddefinition | determinandnotation | resultQualifiernotation | result | codedResultInterpretationinterpretation | determinandunitlabel | samplesampledMaterialTypelabel | sampleisComplianceSample | samplepurposelabel | samplesamplingPointeasting | samplesamplingPointnorthing
1 | 1 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1205043-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2003-01-08T12:05:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 14.7 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
2 | 11 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1235128-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2003-10-02T14:15:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 9.1 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
3 | 21 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1205120-0348 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-01-09T10:00:00 | Phosphorus-P | Phosphorus, Total as P | 348 | None | 0.083 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 459427 | 236819
4 | 31 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206602-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-01-23T12:05:00 | Copper - Cu | Copper | 6452 | None | 8.7 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
5 | 41 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206602-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-01-23T12:05:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 108 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
6 | 51 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1208720-0348 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-02-18T10:15:00 | Phosphorus-P | Phosphorus, Total as P | 348 | None | 0.074 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 459427 | 236819
7 | 61 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209124-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-02-21T12:30:00 | Chromium -Cr | Chromium | 3164 | None | 3 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
8 | 71 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209124-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-02-21T12:30:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
9 | 81 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209124-0062 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-02-21T12:30:00 | Cond @ 20C | Conductivity at 20 C | 62 | None | 689 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
10 | 91 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211397-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-03-18T11:40:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0139 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
11 | 101 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211397-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-03-18T11:40:00 | Zinc - as Zn | Zinc | 6455 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
12 | 111 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211397-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-03-18T11:40:00 | Chloride Ion | Chloride | 172 | None | 31.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
13 | 121 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214368-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-04-17T11:40:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 14.5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
14 | 131 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214368-6841 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-04-17T11:40:00 | Phenol Odour | Phenolic Odour | 6841 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
15 | 141 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214368-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-04-17T11:40:00 | Temp Water | Temperature of Water | 76 | None | 11.99 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
16 | 151 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217657-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-05-21T11:50:00 | pH | pH | 61 | None | 8.45 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
17 | 161 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217657-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-05-21T11:50:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
18 | 171 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217657-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-05-21T11:50:00 | Nitrate-N | Nitrate as N | 117 | None | 7.82 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
19 | 181 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221183-6841 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-06-23T13:00:00 | Phenol Odour | Phenolic Odour | 6841 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
20 | 191 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221183-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-06-23T13:00:00 | Chloride Ion | Chloride | 172 | None | 36.5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
21 | 201 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221183-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-06-23T13:00:00 | pH | pH | 61 | None | 8.15 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
22 | 211 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227883-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-07-28T11:20:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0162 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
23 | 221 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227883-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-07-28T11:20:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 4.8 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
24 | 231 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227883-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-07-28T11:20:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
25 | 241 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229619-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-08-14T10:40:00 | Turbidity | Turbidity | 68 | None | 4.2 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
26 | 251 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229619-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-08-14T10:40:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 4.5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
27 | 261 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229619-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-08-14T10:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.032 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
28 | 271 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232592-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-09-15T12:15:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
29 | 281 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232592-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-09-15T12:15:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 105 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
30 | 291 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232592-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-09-15T12:15:00 | Chloride Ion | Chloride | 172 | None | 39.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
31 | 301 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236368-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-10-14T12:40:00 | Chloride Ion | Chloride | 172 | None | 41 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
32 | 311 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236368-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-10-14T12:40:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 87 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
33 | 321 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236368-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-10-14T12:40:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0237 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
34 | 331 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242102-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-11-26T11:40:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
35 | 341 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242102-6841 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-11-26T11:40:00 | Phenol Odour | Phenolic Odour | 6841 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
36 | 351 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242102-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-11-26T11:40:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
37 | 361 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244878-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-12-18T11:15:00 | Chloride Ion | Chloride | 172 | None | 42 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
38 | 371 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244878-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-12-18T11:15:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.042 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
39 | 381 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244878-6460 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2003-12-18T11:15:00 | Fe- Filt | Iron, Dissolved | 6460 | None | 30 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
40 | 391 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206607-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-01-23T13:05:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
41 | 401 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206607-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-01-23T13:05:00 | Chromium -Cr | Chromium | 3164 | None | 4.2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
42 | 411 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206607-3410 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-01-23T13:05:00 | Ni- Filtered | Nickel, Dissolved | 3410 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
43 | 421 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209132-3409 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-02-21T13:25:00 | Cr- Filtered | Chromium, Dissolved | 3409 | None | 5.3 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
44 | 431 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209132-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-02-21T13:25:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
45 | 441 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211398-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-03-18T11:10:00 | Temp Water | Temperature of Water | 76 | None | 6.97 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
46 | 451 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211398-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-03-18T11:10:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
47 | 461 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211398-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-03-18T11:10:00 | Chloride Ion | Chloride | 172 | None | 37.7 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
48 | 471 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214374-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-04-17T11:05:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
49 | 481 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214374-3409 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-04-17T11:05:00 | Cr- Filtered | Chromium, Dissolved | 3409 | None | 0.7 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
50 | 491 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217656-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-05-21T11:10:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00296 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
51 | 501 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217656-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-05-21T11:10:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 11.3 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
52 | 511 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217656-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-05-21T11:10:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.137 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
53 | 521 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221188-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-06-23T14:00:00 | Temp Water | Temperature of Water | 76 | None | 17.8 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
54 | 531 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221188-0105 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-06-23T14:00:00 | Mercury - Hg | Mercury | 105 | None | 0.06 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
55 | 541 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227872-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-07-28T10:30:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.033 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
56 | 551 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227872-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-07-28T10:30:00 | Iron - as Fe | Iron | 6051 | None | 257 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
57 | 561 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227872-6450 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-07-28T10:30:00 | Cu Filtered | Copper, Dissolved | 6450 | None | 2.6 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
58 | 571 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229614-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-08-14T10:10:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.505 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
59 | 581 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229614-0052 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-08-14T10:10:00 | Pb Filtered | Lead, Dissolved | 52 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
60 | 591 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232584-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-09-15T11:40:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 89.7 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
61 | 601 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232584-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-09-15T11:40:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
62 | 611 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232584-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-09-15T11:40:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
63 | 621 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236366-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-10-14T13:50:00 | pH | pH | 61 | None | 8.24 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
64 | 631 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236366-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-10-14T13:50:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
65 | 641 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242098-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-11-26T10:25:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
66 | 651 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242098-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-11-26T10:25:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
67 | 661 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242098-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-11-26T10:25:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00195 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
68 | 671 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244880-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-12-18T12:10:00 | Turbidity | Turbidity | 68 | None | 2.54 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
69 | 681 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244880-3410 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2003-12-18T12:10:00 | Ni- Filtered | Nickel, Dissolved | 3410 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 462655 | 234551
70 | 691 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206613-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-01-23T14:15:00 | Temp Water | Temperature of Water | 76 | None | 6.4 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
71 | 701 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206613-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-01-23T14:15:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.138 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
72 | 711 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209135-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-02-21T15:00:00 | pH | pH | 61 | None | 8.51 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
73 | 721 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211396-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-03-18T10:15:00 | pH | pH | 61 | None | 8.27 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
74 | 731 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211396-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-03-18T10:15:00 | Chloride Ion | Chloride | 172 | None | 37.7 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
75 | 741 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214369-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-04-17T10:15:00 | pH | pH | 61 | None | 8.09 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
76 | 751 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217659-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-05-21T10:20:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.08 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
77 | 761 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217659-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-05-21T10:20:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.172 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
78 | 771 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221194-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-06-23T15:15:00 | pH | pH | 61 | None | 8.43 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
79 | 781 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227862-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-07-28T09:40:00 | pH | pH | 61 | None | 8.13 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
80 | 791 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229620-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-08-14T09:20:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 7.29 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
81 | 801 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229620-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-08-14T09:20:00 | Turbidity | Turbidity | 68 | None | 4.9 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
82 | 811 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232570-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-09-15T11:00:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 11.8 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
83 | 821 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236362-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-10-14T15:00:00 | Nitrate-N | Nitrate as N | 117 | None | 14.3 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
84 | 831 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236362-0062 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-10-14T15:00:00 | Cond @ 20C | Conductivity at 20 C | 62 | None | 886 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
85 | 841 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242096-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-11-26T09:50:00 | Turbidity | Turbidity | 68 | None | 36.9 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
86 | 851 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244883-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-12-18T13:00:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 13.5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
87 | 861 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244883-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2003-12-18T13:00:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00077 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
88 | 871 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206609-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-01-23T13:20:00 | Turbidity | Turbidity | 68 | None | 25.4 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
89 | 881 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1206609-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-01-23T13:20:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.126 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
90 | 891 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209125-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-02-21T13:50:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.126 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
91 | 901 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1209125-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-02-21T13:50:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 12.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
92 | 911 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211394-0068 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-03-18T10:35:00 | Turbidity | Turbidity | 68 | None | 5.1 | None | ftu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
93 | 921 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211394-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-03-18T10:35:00 | Chromium -Cr | Chromium | 3164 | None | 0.6 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
94 | 931 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211394-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-03-18T10:35:00 | pH | pH | 61 | None | 8.09 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
95 | 941 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214370-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-04-17T10:30:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 13.2 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
96 | 951 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1214370-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-04-17T10:30:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
97 | 961 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217647-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-05-21T10:35:00 | pH | pH | 61 | None | 8.33 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
98 | 971 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1217647-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-05-21T10:35:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 11.2 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
99 | 981 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221191-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-06-23T14:15:00 | Temp Water | Temperature of Water | 76 | None | 17.3 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
100 | 991 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1221191-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-06-23T14:15:00 | Nitrite-N | Nitrite as N | 118 | None | 0.115 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
101 | 1001 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227866-0105 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-07-28T10:00:00 | Mercury - Hg | Mercury | 105 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
102 | 1011 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1227866-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-07-28T10:00:00 | Copper - Cu | Copper | 6452 | None | 2.7 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
103 | 1021 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229615-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-08-14T09:40:00 | Zinc - as Zn | Zinc | 6455 | None | 14.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
104 | 1031 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1229615-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-08-14T09:40:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
105 | 1041 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232579-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-09-15T11:20:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.524 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
106 | 1051 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232579-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-09-15T11:20:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.057 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
107 | 1061 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1232579-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-09-15T11:20:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 16.2 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
108 | 1071 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236367-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-10-14T14:05:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
109 | 1081 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1236367-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-10-14T14:05:00 | pH | pH | 61 | None | 8.21 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
110 | 1091 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242097-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-11-26T10:05:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.078 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
111 | 1101 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1242097-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-11-26T10:05:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.275 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
112 | 1111 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244882-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-12-18T12:40:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.125 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
113 | 1121 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1244882-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2003-12-18T12:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.077 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
114 | 1131 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1213324-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021126 | AN-021126 | SEVEN GABLES BUCKINGHAM RD.WINSLOW | 2003-04-07T12:35:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 67.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 475760 | 228480
115 | 1141 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1230763-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021255 | AN-021255 | TUSMORE PARK HOLDINGS TUSMORE OXON. | 2003-08-27T12:50:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.78 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 456690 | 230220
116 | 1151 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1205233-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-01-09T13:00:00 | Lead - as Pb | Lead | 50 | None | 20 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
117 | 1161 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1208821-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-02-18T12:35:00 | Phenol | Phenol | 9522 | None | 0.063 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
118 | 1171 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1208821-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-02-18T12:35:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 3 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
119 | 1181 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1211504-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-03-18T12:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 2.86 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
120 | 1191 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1212946-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-04-02T12:20:00 | Cadmium - Cd | Cadmium | 108 | None | 1 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
121 | 1201 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1212946-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-04-02T12:20:00 | Chromium -Cr | Chromium | 3164 | None | 5 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
122 | 1211 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1216176-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-05-07T12:15:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 1.8 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
123 | 1221 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1219209-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-06-04T12:05:00 | Copper - Cu | Copper | 6452 | None | 25 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
124 | 1231 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1219209-0183 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-06-04T12:05:00 | Sulphate SO4 | Sulphate as SO4 | 183 | None | 726 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
125 | 1241 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1222259-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-07-01T13:25:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 51.7 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
126 | 1251 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1228230-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-07-30T11:55:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 3 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
127 | 1261 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1228230-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-07-30T11:55:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 1 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
128 | 1271 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1231373-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-09-02T13:00:00 | Phenol | Phenol | 9522 | None | 0.04 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
129 | 1281 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1235025-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-10-01T14:10:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 4.3 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
130 | 1291 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1235025-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-10-01T14:10:00 | Chloride Ion | Chloride | 172 | None | 128 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
131 | 1301 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1238754-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-10-28T13:40:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 1 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
132 | 1311 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1243367-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-12-04T13:10:00 | Chloride Ion | Chloride | 172 | None | 67 | None | mg/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
133 | 1321 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1243367-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2003-12-04T13:10:00 | Lead - as Pb | Lead | 50 | None | 20 | None | ug/l | ANY TRADE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 469000 | 224000
134 | 1331 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1208604-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-02-17T13:00:00 | Chloride Ion | Chloride | 172 | None | 253 | None | mg/l | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 504472 | 384082
135 | 1341 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1216928-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-05-15T09:00:00 | Chloride Ion | Chloride | 172 | None | 252 | None | mg/l | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 504472 | 384082
136 | 1351 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1220008-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-06-12T08:30:00 | Iron - as Fe | Iron | 6051 | None | 59 | None | ug/l | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | MONITORING (NATIONAL AGENCY POLICY) | 504472 | 384082
137 | 1361 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1222746-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-07-07T11:10:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.06 | None | mg/l | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 504472 | 384082
138 | 1371 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1231571-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-09-04T13:30:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.666 | None | mg/l | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 504472 | 384082
139 | 1381 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1243919-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-12-10T12:55:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 2330 | None | us/cm | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | MONITORING (NATIONAL AGENCY POLICY) | 504472 | 384082
140 | 1391 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1243919-0207 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-TF044840 | AN-TF044840 | FALDINGWORTH | 2003-12-10T12:55:00 | Sodium - Na | Sodium | 207 | None | 568 | None | mg/l | GROUNDWATER - PURGED/PUMPED/REFILLED | FALSE | MONITORING (NATIONAL AGENCY POLICY) | 504472 | 384082