## Sheet1
ID1 | ID | @id | samplesamplingPoint | samplesamplingPointnotation | samplesamplingPointlabel | samplesampleDateTime | determinandlabel | determinanddefinition | determinandnotation | resultQualifiernotation | result | codedResultInterpretationinterpretation | determinandunitlabel | samplesampledMaterialTypelabel | sampleisComplianceSample | samplepurposelabel | samplesamplingPointeasting | samplesamplingPointnorthing
1 | 1 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1386047-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2006-01-04T11:00:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 31.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
2 | 11 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1412347-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2006-07-14T13:05:00 | Chloride Ion | Chloride | 172 | None | 142 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE FORMAL (PERMIT) | 467020 | 233400
3 | 21 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389239-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-01-31T11:10:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.078 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
4 | 31 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389239-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-01-31T11:10:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.03 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
5 | 41 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389239-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-01-31T11:10:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 103.8 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
6 | 51 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393694-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-03-01T11:20:00 | Chloride Ion | Chloride | 172 | None | 43.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
7 | 61 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393694-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-03-01T11:20:00 | Nitrate-N | Nitrate as N | 117 | None | 6.52 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
8 | 71 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393694-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-03-01T11:20:00 | Temp Water | Temperature of Water | 76 | None | 2.95 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
9 | 81 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397797-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-04-06T10:45:00 | Nitrate-N | Nitrate as N | 117 | None | 5.81 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
10 | 91 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397797-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-04-06T10:45:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 14.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
11 | 101 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402453-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-05-11T11:50:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
12 | 111 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402453-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-05-11T11:50:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
13 | 121 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402453-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-05-11T11:50:00 | Chromium -Cr | Chromium | 3164 | None | 0.5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
14 | 131 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1408649-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-06-14T11:47:00 | TurbidityNTU | Turbidity | 6396 | None | 2.9 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
15 | 141 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1408649-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-06-14T11:47:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
16 | 151 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411016-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-07-05T11:25:00 | Iron - as Fe | Iron | 6051 | None | 99 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
17 | 161 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411016-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-07-05T11:25:00 | Nitrate-N | Nitrate as N | 117 | None | 4.24 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
18 | 171 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411016-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-07-05T11:25:00 | Chloride Ion | Chloride | 172 | None | 45.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
19 | 181 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417363-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-08-17T10:38:00 | Chloride Ion | Chloride | 172 | None | 48.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
20 | 191 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417363-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-08-17T10:38:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
21 | 201 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417363-0062 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-08-17T10:38:00 | Cond @ 20C | Conductivity at 20 C | 62 | None | 704 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
22 | 211 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422443-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-09-21T10:48:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
23 | 221 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422443-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-09-21T10:48:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
24 | 231 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424889-6450 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-10-13T11:25:00 | Cu Filtered | Copper, Dissolved | 6450 | None | 2.4 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
25 | 241 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424889-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-10-13T11:25:00 | TurbidityNTU | Turbidity | 6396 | None | 12.1 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
26 | 251 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424889-6460 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-10-13T11:25:00 | Fe- Filt | Iron, Dissolved | 6460 | None | 42 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
27 | 261 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427188-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-11-01T11:47:00 | Iron - as Fe | Iron | 6051 | None | 150 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
28 | 271 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427188-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-11-01T11:47:00 | Temp Water | Temperature of Water | 76 | None | 8.68 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
29 | 281 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431228-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-11-21T11:00:00 | Temp Water | Temperature of Water | 76 | None | 7.55 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
30 | 291 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431228-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-11-21T11:00:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0371 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
31 | 301 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431228-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-11-21T11:00:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
32 | 311 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433709-6452 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-12-08T11:33:00 | Copper - Cu | Copper | 6452 | None | 3.8 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
33 | 321 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433709-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-12-08T11:33:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 11.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
34 | 331 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433709-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2006-12-08T11:33:00 | TurbidityNTU | Turbidity | 6396 | None | 49.6 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
35 | 341 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389246-1085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-01-31T12:00:00 | Pentachlrphl | Pentachlorophenol | 1085 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
36 | 351 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389246-6577 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-01-31T12:00:00 | 3,4 Xylenol | 3,4-Dimethylphenol :- {3,4-Xylenol} | 6577 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
37 | 361 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389246-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-01-31T12:00:00 | Chloride Ion | Chloride | 172 | None | 63.3 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
38 | 371 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393695-9091 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-03-01T12:35:00 | 25Dichlrphnl | 2,5-Dichlorophenol | 9091 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
39 | 381 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393695-5560 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-03-01T12:35:00 | p-Cresol | 4-Methylphenol :- {p-Cresol} | 5560 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
40 | 391 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393695-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-03-01T12:35:00 | Phenol | Phenol | 9522 | None | 0.047 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
41 | 401 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397810-5558 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-04-06T11:40:00 | 3,5-Xylenol | 3,5-Dimethylphenol :- {3,5-Xylenol} | 5558 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
42 | 411 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397810-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-04-06T11:40:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
43 | 421 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397810-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-04-06T11:40:00 | pH | pH | 61 | None | 8.27 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
44 | 431 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402482-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-05-11T12:50:00 | Chloride Ion | Chloride | 172 | None | 82.7 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
45 | 441 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402482-5560 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-05-11T12:50:00 | p-Cresol | 4-Methylphenol :- {p-Cresol} | 5560 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
46 | 451 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402482-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-05-11T12:50:00 | Iron - as Fe | Iron | 6051 | None | 179 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
47 | 461 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402482-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-05-11T12:50:00 | pH | pH | 61 | None | 8.23 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
48 | 471 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1408656-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-06-14T12:55:00 | TurbidityNTU | Turbidity | 6396 | None | 3.3 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
49 | 481 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1408656-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-06-14T12:55:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.0013 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
50 | 491 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1408656-9094 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-06-14T12:55:00 | 2,5-Xylenol | 2,5-Dimethylphenol :- {2,5-Xylenol} | 9094 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
51 | 501 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411029-9703 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-07-05T12:30:00 | 3Chlorophenl | 3-Chlorophenol | 9703 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
52 | 511 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411029-5561 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-07-05T12:30:00 | m-Cresol | 3-Methylphenol :- {m-Cresol} | 5561 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
53 | 521 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411029-9818 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-07-05T12:30:00 | 245Trichlphl | 2,4,5-Trichlorophenol | 9818 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
54 | 531 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417365-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-08-17T09:38:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00093 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
55 | 541 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417365-9451 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-08-17T09:38:00 | 2,3-Xylenol | 2,3-Dimethylphenol :- {2,3-Xylenol} | 9451 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
56 | 551 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417365-9817 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-08-17T09:38:00 | 2,6-DCP | 2,6-Dichlorophenol | 9817 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
57 | 561 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417365-9815 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-08-17T09:38:00 | 4ClPhenol | 4-Chlorophenol | 9815 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
58 | 571 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422448-9815 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-09-21T09:48:00 | 4ClPhenol | 4-Chlorophenol | 9815 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
59 | 581 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422448-6460 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-09-21T09:48:00 | Fe- Filt | Iron, Dissolved | 6460 | None | 51 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
60 | 591 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422448-9819 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-09-21T09:48:00 | 2,4,6-T | 2,4,6-Trichlorophenol | 9819 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
61 | 601 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424892-9094 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-10-13T12:19:00 | 2,5-Xylenol | 2,5-Dimethylphenol :- {2,5-Xylenol} | 9094 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
62 | 611 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424892-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-10-13T12:19:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 13.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
63 | 621 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424892-6460 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-10-13T12:19:00 | Fe- Filt | Iron, Dissolved | 6460 | None | 39 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
64 | 631 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427193-6051 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-01T12:55:00 | Iron - as Fe | Iron | 6051 | None | 159 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
65 | 641 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427193-5560 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-01T12:55:00 | p-Cresol | 4-Methylphenol :- {p-Cresol} | 5560 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
66 | 651 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427193-9819 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-01T12:55:00 | 2,4,6-T | 2,4,6-Trichlorophenol | 9819 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
67 | 661 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427193-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-01T12:55:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.03 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
68 | 671 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431248-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-21T10:00:00 | Chloride Ion | Chloride | 172 | None | 46.3 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
69 | 681 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431248-3343 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-21T10:00:00 | 2,4-Xylenol | 2,4-Dimethylphenol :- {2,4-Xylenol} | 3343 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
70 | 691 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431248-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-11-21T10:00:00 | Phenol | Phenol | 9522 | None | 0.056 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
71 | 701 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433670-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-12-08T10:30:00 | pH | pH | 61 | None | 8 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
72 | 711 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433670-6577 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-12-08T10:30:00 | 3,4 Xylenol | 3,4-Dimethylphenol :- {3,4-Xylenol} | 6577 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
73 | 721 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433670-5561 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M05 | AN-01M05 | R.OUSE FULWELL CROSSING | 2006-12-08T10:30:00 | m-Cresol | 3-Methylphenol :- {m-Cresol} | 5561 | None | 0.02 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 462655 | 234551
74 | 731 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389252-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-01-31T12:50:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1.25 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
75 | 741 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389252-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-01-31T12:50:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00037 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
76 | 751 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393680-0062 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-03-01T13:15:00 | Cond @ 20C | Conductivity at 20 C | 62 | None | 784 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
77 | 761 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397817-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-04-06T12:17:00 | Temp Water | Temperature of Water | 76 | None | 8.06 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
78 | 771 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402443-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-05-11T11:35:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 11.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
79 | 781 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402443-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-05-11T11:35:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.115 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
80 | 791 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1408651-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-06-14T13:25:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 92 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
81 | 801 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411054-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-07-05T13:25:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.136 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
82 | 811 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411054-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-07-05T13:25:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 4.7 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
83 | 821 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417373-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-08-17T09:00:00 | Nitrate-N | Nitrate as N | 117 | None | 9.98 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
84 | 831 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422447-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-09-21T09:10:00 | TurbidityNTU | Turbidity | 6396 | None | 3.7 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
85 | 841 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424894-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-10-13T13:05:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 10.4 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
86 | 851 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424894-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-10-13T13:05:00 | Nitrate-N | Nitrate as N | 117 | None | 14.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
87 | 861 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427191-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-11-01T13:35:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00055 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
88 | 871 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431225-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-11-21T09:20:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0206 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
89 | 881 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431225-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-11-21T09:20:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 96 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
90 | 891 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433713-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M07 | AN-01M07 | R.OUSE BOURTON MILL | 2006-12-08T09:40:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.07 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 470789 | 233419
91 | 901 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389248-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-01-31T12:20:00 | Zinc - as Zn | Zinc | 6455 | None | 14.2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
92 | 911 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1389248-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-01-31T12:20:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0177 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
93 | 921 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393687-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-03-01T12:55:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 104 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
94 | 931 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1393687-0050 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-03-01T12:55:00 | Lead - as Pb | Lead | 50 | None | 2 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
95 | 941 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397815-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-04-06T12:00:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 12.9 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
96 | 951 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397815-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-04-06T12:00:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
97 | 961 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1397815-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-04-06T12:00:00 | Temp Water | Temperature of Water | 76 | None | 7.39 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
98 | 971 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402493-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-05-11T13:15:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0631 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
99 | 981 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1402493-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-05-11T13:15:00 | Chloride Ion | Chloride | 172 | None | 86.1 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
100 | 991 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411036-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-07-05T13:00:00 | TurbidityNTU | Turbidity | 6396 | None | 5 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
101 | 1001 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411036-6460 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-07-05T13:00:00 | Fe- Filt | Iron, Dissolved | 6460 | None | 30 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
102 | 1011 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417371-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-08-17T09:20:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.063 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
103 | 1021 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1417371-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-08-17T09:20:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.27 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
104 | 1031 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422450-3164 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-09-21T09:30:00 | Chromium -Cr | Chromium | 3164 | None | 0.5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
105 | 1041 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422450-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-09-21T09:30:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00082 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
106 | 1051 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422450-6462 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-09-21T09:30:00 | Nickel - Ni | Nickel | 6462 | None | 5 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
107 | 1061 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424893-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-10-13T12:35:00 | Nitrite-N | Nitrite as N | 118 | None | 0.031 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
108 | 1071 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1424893-6396 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-10-13T12:35:00 | TurbidityNTU | Turbidity | 6396 | None | 12.8 | None | ntu | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
109 | 1081 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427190-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-11-01T13:15:00 | pH | pH | 61 | None | 8.11 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
110 | 1091 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1427190-0108 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-11-01T13:15:00 | Cadmium - Cd | Cadmium | 108 | None | 0.1 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 465205 | 234067
111 | 1101 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1431224-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-11-21T09:40:00 | Temp Water | Temperature of Water | 76 | None | 7.93 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 465205 | 234067
112 | 1111 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433704-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-12-08T10:10:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0268 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 465205 | 234067
113 | 1121 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1433704-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M14 | AN-01M14 | R.OUSE WATER STRATFORD RD.BR. | 2006-12-08T10:10:00 | Temp Water | Temperature of Water | 76 | None | 7.93 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING (GQA & RE ONLY) | 465205 | 234067
114 | 1131 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1412256-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021126 | AN-021126 | SEVEN GABLES BUCKINGHAM RD.WINSLOW | 2006-07-14T11:10:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 18.9 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 475760 | 228480
115 | 1141 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1425224-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021255 | AN-021255 | TUSMORE PARK HOLDINGS TUSMORE OXON. | 2006-10-17T12:40:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 456690 | 230220
116 | 1151 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1409151-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021537 | AN-021537 | BAYNARDS GREEN SERVICE STN. BICESTER | 2006-06-16T10:10:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 3.9 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 454900 | 229190
117 | 1161 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1432123-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-021537 | AN-021537 | BAYNARDS GREEN SERVICE STN. BICESTER | 2006-11-24T13:10:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.9 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE FORMAL (PERMIT) | 454900 | 229190
118 | 1171 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1400305-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-04-24T10:35:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.8 | None | mg/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
119 | 1181 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1403231-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-05-19T11:50:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 31.7 | None | mg/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
120 | 1191 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1403231-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-05-19T11:50:00 | Phenol | Phenol | 9522 | None | 0.125 | None | ug/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
121 | 1201 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1409209-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-06-16T11:40:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 55.3 | None | mg/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
122 | 1211 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411456-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-07-06T12:13:00 | Phenol | Phenol | 9522 | None | 0.113 | None | ug/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
123 | 1221 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1411456-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-07-06T12:13:00 | Temp Water | Temperature of Water | 76 | None | 21.79 | None | cel | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
124 | 1231 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1418205-0183 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-08-23T11:40:00 | Sulphate SO4 | Sulphate as SO4 | 183 | None | 910 | None | mg/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
125 | 1241 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1418205-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-08-23T11:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 1.42 | None | mg/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
126 | 1251 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422742-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-09-25T11:40:00 | Zinc - as Zn | Zinc | 6455 | None | 16.2 | None | ug/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000
127 | 1261 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1422742-9522 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-02209B | AN-02209B | SHANKS & MCEWAN CALVERT LANDFILL | 2006-09-25T11:40:00 | Phenol | Phenol | 9522 | None | 0.452 | None | ug/l | ANY TRADE EFFLUENT | FALSE | PLANNED INVESTIGATION (LOCAL MONITORING) | 469000 | 224000