## Sheet1
ID1 | ID | @id | samplesamplingPoint | samplesamplingPointnotation | samplesamplingPointlabel | samplesampleDateTime | determinandlabel | determinanddefinition | determinandnotation | resultQualifiernotation | result | codedResultInterpretationinterpretation | determinandunitlabel | samplesampledMaterialTypelabel | sampleisComplianceSample | samplepurposelabel | samplesamplingPointeasting | samplesamplingPointnorthing
1 | 106 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1650501-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-11-02T14:30:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 47.1 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
2 | 107 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1650501-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-11-02T14:30:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 18 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
3 | 108 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1650501-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-11-02T14:30:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
4 | 109 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622750-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:49:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
5 | 110 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622750-7444 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:49:00 | D Site Insp | Descriptive Site Inspection : Pass/Fail 1/0 | 7444 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
6 | 111 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
7 | 112 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 31.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
8 | 113 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 4.12 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
9 | 114 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 269 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
10 | 115 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 1 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
11 | 101 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1638695-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-07-20T14:45:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 16.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
12 | 102 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1638695-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-07-20T14:45:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 5.1 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
13 | 103 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1638695-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-07-20T14:45:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.5 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
14 | 104 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1638695-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-07-20T14:45:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
15 | 105 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1650501-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2011-11-02T14:30:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 23.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
16 | 116 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0172 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | Chloride Ion | Chloride | 172 | None | 640 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
17 | 117 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 89 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
18 | 118 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622881-7444 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-02-08T13:48:00 | D Site Insp | Descriptive Site Inspection : Pass/Fail 1/0 | 7444 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
19 | 119 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1632921-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-03-03T12:15:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
20 | 120 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1632921-7444 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2011-03-03T12:15:00 | D Site Insp | Descriptive Site Inspection : Pass/Fail 1/0 | 7444 | None | 1 | None | coded | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
21 | 121 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1638699-4883 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01558 | AN-01558 | ROBIN HOOD PH BUFFLERS HOLT | 2011-07-20T14:33:00 | Site Inspect | Site Inspection : Pass/Fail (1/0) | 4883 | None | 1 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 466660 | 235220
22 | 122 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.103 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
23 | 123 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 12 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
24 | 124 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Nitrate-N | Nitrate as N | 117 | None | 6.21 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
25 | 125 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Temp Water | Temperature of Water | 76 | None | 4.91 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
26 | 126 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | pH | pH | 61 | None | 7.99 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
27 | 127 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.059 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
28 | 128 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 197 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
29 | 129 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0288 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
30 | 130 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 632 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
31 | 131 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 94.1 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
32 | 132 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00072 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
33 | 133 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 8.3 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
34 | 134 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618996-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-01-19T16:27:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 6.24 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
35 | 135 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 5.25 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
36 | 136 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Nitrate-N | Nitrate as N | 117 | None | 5.23 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
37 | 137 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0233 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
38 | 138 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00072 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
39 | 139 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 8.45 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
40 | 140 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | pH | pH | 61 | None | 8.02 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
41 | 141 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 752 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
42 | 142 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 91.8 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
43 | 143 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 239 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
44 | 144 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Temp Water | Temperature of Water | 76 | None | 7.53 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
45 | 145 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.047 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
46 | 146 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 11 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
47 | 147 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622634-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-02-07T17:19:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.287 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
48 | 148 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 11.7 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
49 | 149 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 16.5 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
50 | 150 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 201 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
51 | 151 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Temp Water | Temperature of Water | 76 | None | 5.01 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
52 | 152 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 592 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
53 | 153 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 91.6 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
54 | 154 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.09 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
55 | 155 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | pH | pH | 61 | None | 8.15 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
56 | 156 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 6.44 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
57 | 157 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Nitrate-N | Nitrate as N | 117 | None | 6.41 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
58 | 158 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0296 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
59 | 159 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00114 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
60 | 160 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1624372-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-03-02T12:40:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.103 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
61 | 161 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.038 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
62 | 162 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | pH | pH | 61 | None | 8.27 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
63 | 163 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 5.19 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
64 | 164 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 5.42 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
65 | 165 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Nitrate-N | Nitrate as N | 117 | None | 5.17 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
66 | 166 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Nitrite-N | Nitrite as N | 118 | None | 0.0245 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
67 | 167 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Temp Water | Temperature of Water | 76 | None | 10.28 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
68 | 168 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 759 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
69 | 169 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 248 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
70 | 170 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.388 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
71 | 171 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 11.7 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
72 | 172 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 104.8 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
73 | 173 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1628241-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-04-05T16:52:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00071 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
74 | 174 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.091 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
75 | 175 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | pH | pH | 61 | None | 8.23 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
76 | 176 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0116 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | N Oxidised | Nitrogen, Total Oxidised as N | 116 | None | 6.87 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
77 | 177 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 5.92 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
78 | 178 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Nitrate-N | Nitrate as N | 117 | None | 6.76 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
79 | 179 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Temp Water | Temperature of Water | 76 | None | 14.39 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
80 | 180 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 843.6 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
81 | 181 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00229 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
82 | 182 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.952 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
83 | 183 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 246 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
84 | 184 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-9924 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Oxygen Diss | Oxygen, Dissolved as O2 | 9924 | None | 14.6 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
85 | 185 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-0118 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | Nitrite-N | Nitrite as N | 118 | None | 0.113 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
86 | 186 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1631819-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-05-06T16:00:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 143.6 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
87 | 187 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 35.8 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
88 | 188 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 253 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
89 | 189 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0076 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Temp Water | Temperature of Water | 76 | None | 14.3 | None | cel | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
90 | 190 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0077 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Cond @ 25C | Conductivity at 25 C | 77 | None | 774 | None | us/cm | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
91 | 191 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-9901 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | O Diss %sat | Oxygen, Dissolved, % Saturation | 9901 | None | 98.5 | None | % | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
92 | 192 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.044 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
93 | 193 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0061 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | pH | pH | 61 | None | 7.94 | None | phunits | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
94 | 194 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00096 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
95 | 195 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.734 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
96 | 196 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1634455-0117 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2011-06-03T10:47:00 | Nitrate-N | Nitrate as N | 117 | None | 4.09 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400
97 | 197 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618992-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2011-01-19T16:05:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 8.2 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
98 | 198 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618992-6455 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2011-01-19T16:05:00 | Zinc - as Zn | Zinc | 6455 | None | 8.6 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
99 | 199 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1618992-6450 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2011-01-19T16:05:00 | Cu Filtered | Copper, Dissolved | 6450 | None | 2.12 | None | ug/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
100 | 200 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622629-0119 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2011-02-07T16:45:00 | NH3 un-ion | Ammonia un-ionised as N | 119 | None | 0.00048 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819
101 | 201 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1622629-0180 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M04 | AN-01M04 | R.OUSE A422 RD.BR.BRACKLEY | 2011-02-07T16:45:00 | Orthophospht | Orthophosphate, reactive as P | 180 | None | 0.064 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 459427 | 236819