## Sheet1
ID1 | ID | @id | samplesamplingPoint | samplesamplingPointnotation | samplesamplingPointlabel | samplesampleDateTime | determinandlabel | determinanddefinition | determinandnotation | resultQualifiernotation | result | codedResultInterpretationinterpretation | determinandunitlabel | samplesampledMaterialTypelabel | sampleisComplianceSample | samplepurposelabel | samplesamplingPointeasting | samplesamplingPointnorthing
1 | 1 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727534-7444 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011262 | AN-011262 | STEANE PARK THE MANOR HOUSE STW | 2013-08-01T11:30:00 | D Site Insp | Descriptive Site Inspection : Pass/Fail 1/0 | 7444 | None | 1 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 455510 | 239070
2 | 2 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727534-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011262 | AN-011262 | STEANE PARK THE MANOR HOUSE STW | 2013-08-01T11:30:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 455510 | 239070
3 | 3 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727532-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011265 | AN-011265 | BLACKPIT FARM STW STOWE | 2013-07-30T12:55:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467660 | 239950
4 | 4 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727532-7444 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011265 | AN-011265 | BLACKPIT FARM STW STOWE | 2013-07-30T12:55:00 | D Site Insp | Descriptive Site Inspection : Pass/Fail 1/0 | 7444 | None | 1 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467660 | 239950
5 | 5 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1703034-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-01-28T12:31:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
6 | 6 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1712582-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-04-10T14:52:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 6.35 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
7 | 7 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1712582-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-04-10T14:52:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
8 | 8 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1712582-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-04-10T14:52:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 34.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
9 | 9 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1712582-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-04-10T14:52:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 8.15 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
10 | 10 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720672-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-06-15T10:06:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
11 | 11 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1724776-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-07-29T12:41:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 24 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
12 | 12 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1724776-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-07-29T12:41:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
13 | 13 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1724776-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-07-29T12:41:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.5 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
14 | 14 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1724776-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-07-29T12:41:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.92 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
15 | 15 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1736888-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-10-21T15:00:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
16 | 16 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1736888-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011396 | AN-011396 | BUCKINGHAM GOLF CLUB TINGEWICK RD. | 2013-10-21T15:00:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467020 | 233400
17 | 17 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727548-4883 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011471 | AN-011471 | BUCKINGHAM GARDEN CENTRE | 2013-07-11T14:45:00 | Site Inspect | Site Inspection : Pass/Fail (1/0) | 4883 | None | 1 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467600 | 233410
18 | 18 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727535-7444 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2013-08-01T13:00:00 | D Site Insp | Descriptive Site Inspection : Pass/Fail 1/0 | 7444 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
19 | 19 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727535-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011489 | AN-011489 | RED HOUSE NURSING HOME SYRESHAM | 2013-08-01T13:00:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 462060 | 240890
20 | 20 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1719230-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-05-29T13:35:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.92 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
21 | 21 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1719230-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-05-29T13:35:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.5 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
22 | 22 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1719230-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-05-29T13:35:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 3 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
23 | 23 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1719230-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-05-29T13:35:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
24 | 24 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720657-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-06-15T10:53:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.5 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
25 | 25 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720657-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-06-15T10:53:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
26 | 26 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720657-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-06-15T10:53:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 6 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
27 | 27 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720657-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-06-15T10:53:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.92 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
28 | 28 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1733321-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-10-01T10:08:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 6.67 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
29 | 29 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1733321-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-10-01T10:08:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.92 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
30 | 30 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1733321-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-10-01T10:08:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 0.5 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
31 | 31 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1733321-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-10-01T10:08:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
32 | 32 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1739085-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-11-13T11:31:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 4.52 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
33 | 33 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1739085-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-11-13T11:31:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
34 | 34 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1739085-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-11-13T11:31:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 5.33 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
35 | 35 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1739085-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011553 | AN-011553 | BP CONNECT, BRACKLEY, NORTHAMPTONSHIRE | 2013-11-13T11:31:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 1 | None | mg/l | ANY SEWAGE | TRUE | COMPLIANCE AUDIT (PERMIT) | 459250 | 238550
36 | 36 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1703051-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-01-28T12:18:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 10.5 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
37 | 37 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1703051-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-01-28T12:18:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
38 | 38 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1703051-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-01-28T12:18:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 11.4 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
39 | 39 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1703051-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-01-28T12:18:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 5.03 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
40 | 40 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1724782-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-07-29T12:25:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
41 | 41 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1736943-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-10-21T15:21:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 8.38 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
42 | 42 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1736943-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-10-21T15:21:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.92 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
43 | 43 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1736943-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-10-21T15:21:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 1.25 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
44 | 44 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1736943-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011624 | AN-011624 | APOLLO OFFICE UNITS RADCLIVE RD GAWCOTT | 2013-10-21T15:21:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 467993 | 232851
45 | 45 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1719815-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-06-05T10:25:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
46 | 46 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720664-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-06-15T09:34:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 3.57 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
47 | 47 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720664-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-06-15T09:34:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
48 | 48 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720664-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-06-15T09:34:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 9.7 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
49 | 49 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1720664-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-06-15T09:34:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 2.92 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
50 | 50 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1731143-7668 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-09-11T10:47:00 | NO FLOW/SAMP | No flow /No sample | 7668 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
51 | 51 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1741640-0111 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-12-03T11:29:00 | Ammonia(N) | Ammoniacal Nitrogen as N | 111 | None | 41.3 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
52 | 52 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1741640-0135 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-12-03T11:29:00 | Sld Sus@105C | Solids, Suspended at 105 C | 135 | None | 15.2 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
53 | 53 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1741640-0664 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-12-03T11:29:00 | Oil & Grs Vs | Visible oil or grease, significant trace: Present/Not found (1/0) | 664 | None | 0 | None | pres/nf | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
54 | 54 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1741640-0085 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-011638 | AN-011638 | AKELEY WOOD SENIOR SCHOOL, AKELEY WOOD | 2013-12-03T11:29:00 | BOD ATU | BOD : 5 Day ATU | 85 | None | 8.82 | None | mg/l | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 468847 | 237506
55 | 55 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1727550-4883 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01558 | AN-01558 | ROBIN HOOD PH BUFFLERS HOLT | 2013-07-11T14:10:00 | Site Inspect | Site Inspection : Pass/Fail (1/0) | 4883 | None | 0 | None | coded | FINAL SEWAGE EFFLUENT | TRUE | COMPLIANCE AUDIT (PERMIT) | 466660 | 235220
56 | 56 | http://environment.data.gov.uk/water-quality/data/measurement/AN-1706304-0162 | http://environment.data.gov.uk/water-quality/id/sampling-point/AN-01M02 | AN-01M02 | SYRESHAM STR.TRIB.OUSE.A43 RD.BR.KINDSHL | 2013-02-11T13:39:00 | Alky pH 4.5 | Alkalinity to pH 4.5 as CaCO3 | 162 | None | 103 | None | mg/l | RIVER / RUNNING SURFACE WATER | FALSE | ENVIRONMENTAL MONITORING STATUTORY (EU DIRECTIVES) | 463800 | 241400